## Price Sheet
The proposal must be submitted on company letter head duly signed & stamped.
Project Nr. 18.2053.9-001.00 Project Name : Energy Transition with DISCOMs |  |  |  | Supplier Name
Inquiry Number : Design, supply, installation, testing, and commissioning of a 100kWp on-grid pole mounted PV plant on Tea farms in Kerala (KSEBL), RFQ Nr. 91181089 |  |  |  | Unit Rate (INR) | Total Amount (INR)
Pos. | LIST OF ITEM/Specifications (A) | Qty | Brand/Make/Model
1 | Solar Photovoltaic Module | Requried for setting up 100kWp PV plant
2 | Solar Inverters
3 | Remote Monitoring equipment
4 | Mounting Structure - Columns / Purlins / Rafters
5 | Mid Clamps
6 | End Clamps
7 | J Bolts
8 | Fasteners
9 | DC Cable
10 | AC Cable
11 | Junction Boxes
12 | MC4 Connectors
13 | PVC Conduits
14 | Fuses
15 | Lightining Arrestors
16 | Earthing Pits
17 | Earthing Strips
18 | Earthing Cable
19 | Surge Arrestors
20 | Circuit Breakers
21 | Cable glands and Lugs
22 | Weather Monitoring System
23 | Temperator Sensor
24 | Data loggers
25 | Tracker Drive system and its mounting component
26 | Meter and measuring instruments
B | Fabrication, Installation & Commissioning
27 | Piling of MMS Column | Requried for setting up 100kWp PV plant
28 | Foundation for Inverter
29 | Cable trenching
30 | Installation & Commissioning
31 | Miscellaneous (if required and not mentioned here)
32 | Net cost in INR
33 | GST
34 | Grand Total in INR
35 | Other Costs ( please specify)
36 | Total A (a+b) |  |  |  | 0
37 | other costs if any |  |  |  | 0
38 | Grand Total (A+ B) : (C) |  |  |  | 0
39 | GST/tax |  |  |  | 0
40 | Total Cost |  |  | 0 | 0
Please specify
1 | Delivery time
2 | Payment Terms (in case differ from GIZ)
3 | Warranty/ Guarantee
4 | Validity of Proposal
5 | Any other Remarks
Date:
Supplier Name
Signature & Stamp
Remark : The quoted price should be firm and final. No price change/ price negotiation/ extra benefit/ discount will be entertained after the opening of bids.
The bidder must carryout a detailed site visit before submitting the proposal, this will ensure that exact quantities of required components/items are arrived at.
The bidder has to provide the consolidated cost for kWp PV Plant, which will compromise of all the works and items mentioned above. The bidder has to provide the budget for Fabrication, installation & commissioning separately.